INSTALLATION NOTE

Product:     VOLTECH   ISC-3040            MAXIMUM INPUT RATINGS;

PV Input Power:  360 Watts maximum on a 12 Volt Battery System

PV      “        “     :  720 Watts maximum on a 24 Volt Battery System

PV Input Voltage: 65 Volts (max)

This refers to the actual Open Circuit Voltage (VoC) of the PV Panel(s) as connected,

Not the approximate figure of Maximum Power Voltage (Vmp).

Connecting the unit with an Input above 65V will damage the Controller & possibly other components of the PV system. This would be considered abuse & therefore not be covered by Warranty.       We would suggest a safe operating limit of around 55 Volts (VoC).